DIGITAL INPUT FUNCTIONAL DIAGRAM.

ESP32

4X DIGITAL INPUT

Screw Terminal

IN 1

IN 2

IN 3

IN 4

IO 33

IO 32

IO 35

IO 34

GND

INPUT

FILTER

INPUT

PROTECTION

OPTO

COUPLER

GND

ISOLATION GND

DIGITAL OUTPUT FUNCTIONAL DIAGRAM.

Screw Terminal

ESP32

4X DIGITAL OUTPUT

GND

Out   1

Out   2

Out   3

Out   4

IO 25

IO 26

IO 27

IO 14

GND

OPEN COLLECTOR OUTPUT

OUTPUT

FILTER

OPTO

COUPLER

ISOLATION GND

Screw Terminal

RS485 Functional Diagram

ESP32

A

B

TXD              IO  17

RXD              IO 16

RS485

ISOLATOR

RS485

SD CARD Functional Diagram

SD CARD SLOT

ESP32

MOSI

MISO

SCK

CS

MOSI   IO 23

MISO   IO 19

SCK      IO 18

CS         IO 5

SPI

FRAM FUNCTIONAL DIAGRAM

FRAM

ESP32

SCL

SDA

(SCL) IO 22

(SDA) IO 21

I2C

RTC FUNCTIONAL DIAGRAM

RTC

ESP32

I2C

SCL

SDA

(SCL) IO 22

(SDA) IO 21

DAC FUNCTIONAL BLOACK DIAGRAM

SCREW CONNECTOR

0-10 V       A0 1

0-10V        A0 2

ESP32

MCP4728

(SCL) IO 22

(SDA) IO 21

SCL

SDA

DAC

I2C ISOLATOR

4-20mA TX

4-20mA   OUT 1

4-20mA   OUT 2

SCREW CONNECTOR

XTR116

4-20mA TX

CORRENT LOOP CONVERTER

ANALOG INPUT FUNCTIONAL DIAGRAM

ESP32

SCREW CONNECTOR

SCL

SDA

AIN 1

AIN 2

AIN 3

AIN 4

ADS1115

INPUT

PROTECTION

(SCL) IO 22

(SDA) IO 21

I2C ISOLATOR

16 BIT A TO D CONVERTER

INPUT

FILTER

SCREW CONNECTOR

INPUT

PROTECTION

16 BIT A TO D CONVERTER

ADS1115

4-20mA IN 1

4-20mA IN 2

4-20mA IN 3

4-20mA IN 4

INPUT

FILTER

SCL

SDA